# ATEX 2014/34/EC FAN ENQUIRY FORM

# BS EN 14986: 2024 Design of fans working in potentially explosive atmospheres

# Group II Machines, non-mining

In addition to the fan duty requirements, to assist us to produce a quotation for a fan for use in a hazardous atmosphere and to comply with ATEX Directive 2014/34/EC, please complete the table below.

| Zone & Category Classification For Gas Hazard | Category 2G (Zone 1) |  |  |
| --- | --- | --- | --- |
|  | Category 3G (Zone 2) |  |  |
| Temperature Class (Gas Only) T3 or T4. |  |  |  |
| Max Allowable Surface Temp of Equipment (°C) |  |  |  |
| Operation Details |  |  |  |
| Gas Composition e.g., Mixture of Air and 5% Ethylene, Gas Group IIB |  |  |  |
| How is the Fan Installed? i.e., ducted inlet/open outlet etc. |  |  |  |
| Description of Fan Operation |  |  |  |
| Any Extreme Environmental Conditions? e.g., High Ambient temperatures, Corrosive or Dirty Environment Which May Cause Build Up etc. |  |  |  |
| Will Fan Be Started/Controlled Via VSD (Inverter)? If Yes, What Make of VSD Will Be used. |  |  |  |
| Confirm Fan Will Not Be Subjected to External loads, i.e., Zero Deflection. |  |  |  |
| ATEX Lodge File Placed with Notifiable Body an extra charge will apply. (Zone 1 only) | No – (ATEX rated NO lodge file) Yes – (Fully Certified with lodge file) |  |  |
| ATEX Zone II self-certified by CFC Ltd | Plesae note ALL EExnA Zone II Cat 3G fans are certified automatically by CFC Ltd. No Charge. |  |  |

Hazardous Area Details								      Inside Fan Casing		    Outside Fan Casing

Signed By:

On Behalf Of: -